## E4 HITL
| PCLA | ID | Syst | CQ | GT_Count | SPARQL_Result | TP | FP | FN | Coverage | Precision | Recall | FOCUS | Notes | Instructions
Turn 0 | 0: Components | A00 | All | How many componets (incl. AHU) have a classification | 50 | 51 | 42 | 6 | 2 | 84% | 87.5% | 95.45% |  | Byttet om på 2 damper og 4 vav; 2 AT mangler (ankomst, toi)
| 1: Location | Z01 | Special | Rooms are part of the building | 6 | 5 | 5 | 0 | 1 | 83.33% | 100% | 83.33% |  | MANI: 1 Rum fjernet: Omklædning
| 1: Location | V01 | Vent | ATs are placed in a room | 10 | 6 | 6 | 0 | 4 | 60% | 100% | 60% |  | MANI: Omklædning mangler (loc); (følgefejl: AT mangler helt I ankomst og Toi.)
| 4: Global flow | Z02 | All | ATs are connected to the AHU | 10 | 6 | 6 | 0 | 4 | 60% | 100% | 60% |  | MANI: Multirum at til/fra sil; (følgefejl på manglende Ats.)
| 6: Design properties | V12 | Vent | Air terminals have a design airflow | 12 | 6 | 5 | 1 | 6 | 41.67% | 83.33% | 45.45% |  | Room flow not distributed; (følgefejl)